Supplemental Heating Questionnaire

- Make/Name of Unit?___________________________  Year Built?______________

- Date Installed?_____________  By whom?__________________________________

- Installation Inspected by:

- Municipal Bldg. Insp.    Fire Dept.    Other __________   Not Inspected

- Location of unit, including room and floor level?_____________________________

____________________________________________________________________

- Is stove placed on non-combustible pad (include type of material)? ______________

_____________________________________________________________________

- Surrounding walls:    Combustible    Non-Combustible    Distance: ______inches

- Type of fuel used?______________________________________________________

- Use of stove: 	  Primary heat source (i.e. furnace rarely used)

  Secondary – occasional use	  Cooking

  Trash disposal			  Other ________________

9.	Chimney Construction:	  Brick	  Stone	  Cinder Block

  Metal	Other ______________________________

10.	Is chimney lined?		  Yes		  No

- How often is the flue cleaned? ____________________________________________

- By whom? ___________________________________________________________